## Oktober
Date | From | Problem
2016-10-17 | Waddell, Edna | Files from Vario are being retrieved fine but the 3D files are so large and they don't go over as fast as 2D. I do have prior images that fall off the Selenia worklist but I am not sure why when I try retrieve them from Selenia they aren't coming back. That's where configuration should come in I am assumimg. I do believe these are two different issues so if I can get one of the two working I can send the images quicker and smoohtly
2016-10-17 | abrahatad@gmail.com | As per my discussion with Hans-Martin at the end of last week, there was a delay in the a transfer of priors last week due to "corrupted" files that did not transfer and also blocked the transfer of additional files. I put notes in the RIS to assist them pushing the priors on those that are missing. For those that are arrived, I am continuing to report them now. All cases with newly arrived priors will be reported by the end of today.
2016-10-17 | Barker, Christine | Between Oct 11 - Oct 14 there were 32 patients done. As of right now I only have 8 reports showing in RIS from between the above dates. Two of them are waiting for outside films. Four of the patients a note is in that the priors are not showing for Dr. T. Have the rest of the patients been read and where is the reports?
2016-10-17 | Barker, Christine | I have two patients that I have scanned in their images but it is showing as "0" images in Vario. KPittman COBG1208636 - her mammogram was done on 10/10. In the report, Dr. Taddese had comparison films from 2015 and 2014. The 2015 was already in archive but the 2014 images had to be scanned in. The patient is a BIRADS 0 and needs to go for additional views. Her 2014 images are not showing up and I need to burn a disc for the imaging center where she will be going for her additional views. JZeller - COBG25502 - I scanned her images on Friday and again this morning. Both times the images do not show in Vario. Her films are being requested by another facility.
2016-10-14 | Waddell, Edna | I am unable to pull them from the Selenia. They have dropped off the workstation list. They are stored in Vario and I do not know how to retrieve them from Vario onto the Selenia. As you have stated this has never happened to me and the images were lost in the beginning and weren't retrievable through Vario. That is why I called for service to initially find original 2015 images
2016-10-14 | Waddell, Edna | I have retrieved and moved several studies to BC on my drop list when sending but these images will not go over.
2016-10-14 | Barker, Christine | Okay, I have just sent SZaist COBG1212789 to Archive and Miami. I scanned paperwork but doesn't show on my end.
2016-10-14 | Barker, Christine | Below is a list of patients the Dr. Taddese has left notes in RIS regarding not have priors or no paperwork. The priors on all these patients are in archive. 10/11/2016 LDalleo - COBG1206860 LGuarino - COBG1204605 (LGaurino can be deleted) MMizell - COBG1218120 SSnow - COBG1215826 RTerry - COBG1212548 There were 11 patients done this day. I have reports on 5 of them, 1 Hold for priors and the other5 listed above. 10/12 NBaker - COBG1212276 There were 7 patients done on this day. I have 2 reports, 1 listed above, no reprts on 4. 10/13 There were 5 patients done this day. I have gotten 1 report back and the rest of the patients have either no paperwork or no priors. (Note left from Dr. T) CStein - COBG1275229 EWillis - COBG1753583 HTedford - COBG1210630 JHamilton - COBG1204801 I am still not seeing the scanned paperwork on the patients I have done today.
2016-10-14 | Waddell, Edna | Micah Images still will not go over. I need your help again. I have tried several times. i have done some trouble shooting and it still won't allow them all to go.
2016-10-14 | abrahatad@gmail.com | Hans-Martin, As we just spoke on the phone about the transfer of prior images, can you please also address the transfer of annotated images today?
2016-10-14 | abrahatad@gmail.com | I am using the VarioImage program to try and retrieve the images, but I am getting an error message popup, stating missing destination syntax.
2016-10-14 | abrahatad@gmail.com | Vario team,can I please get some followup on this? Lack of priors is preventing me from reporting the cases. It appears substantially unchanged for 10/12 cases, and the problem is also seen on yesterday's cases (10/13). Has the autoforward been completely disabled?
2016-10-14 | abrahatad@gmail.com | thank you. I am also forwarding this to Vario support, as 90% of the cases from 10/13 are missing prior exams (but have paperwork). The three that have prior exams are missing paperwork. I have reviewed every case from yesterday, and so far have only been able to report the baseline exams.
2016-10-14 | Vannoy, Shannon | I am working in a different office in NC today, and my Vario log-in is not working. Please update my log-in for access at the Lyndhurst location, Winston-Salem, NC.
2016-10-14 | Barker, Christine | Follow up on scanned paperwork from 10/13. I scanned paperwork on all the below patients but I am not seeing it on the vario image. Why is this? CStein - COBG1275229 EWillis - COBG1753583 HTedford - COBG1210630 JGillikin - COBG1709811 JHamilton - COBG1204801 Also, there are notes from Dr T in the RIS that he is not seeing prior images. I see them in archive.
2016-10-14 | abrahatad@gmail.com | Hi Claudio and HMS, As I am currently all caught up to today (through all of yesterday's "complete" cases), I have noticed that the current paperwork now appears to be arriving on pretty much every case. I know you had made some adjustments; thank you for addressing that. Unfortunately, starting with yesterday's cases in particular, the prior study images do not seem to be forwarding. Also, the current images this week all arrived, but starting this week that only happened when I when I pulled from the archive by date (the cases used to arrive automatically). Has something changed with the image forwarding protocols? In any case, can you please now look into the absence of the prior images on the workstation for the majority of yesterday's (10/12) cases? For your reference, I have entered RIS notes on those cases from yesterday that remain unreported and were said by the facilities to have prior images.
2016-10-13 | Barker, Christine | I have scanned paperwork for all the below patients. I check to make sure that it scans okay before sending study to Dr. T. I am unable to see any paperwork that I have scanned for the below patients. CStein - COBG1275229 EWillis - COBG1753583 HTedford - COBG1210630 JGillikin - COBG1709811 JHamilton - COBG1204801 Thank you for checking on this for me.
2016-10-13 | Gary D. Grandovic | Laurie… we will do what we can to get the system functioning with the burner, but the problem is being caused by Universal Manager taking up so much of the RAM memory. Once thing to do until we get a full fix is to make sure you only have the programs open that you are actually using. This will conserve RAM memory to the system operates more efficiently. I’ll advise on additional memory as soon as I can. Can you send me a screen shot or system information about the desktop… or the model of the desktop that you have.
2016-10-13 | Geisler, Shawn SCA | We have replaced one of our computer and would like to transfer the dimex license from the old one to the new one. Can you please advise how we can go about doing that?
2016-10-13 | abrahatad@gmail.com | Hello Vario team, can you please push these annotated images to the facility? I am certain the cases were annotated. I know some seem to transfer automatically. I am not sure why these did not.
2016-10-13 | Eschelweck, Laurie | would you please look at ND441108 Vivian. it won't import full exam. cd is in burner
2016-10-13 | Micha Schuh | Hello Edna, i found two studies of patient GGY79038. One is made on the 4th of October this year and contains 4 images and one is made 2015 and contains 13 images. I forwarded both studies to Dr. Landry. I cc'd Katie to this email. @Katie: Could you please have a look if both studies arrived correctly?
2016-10-13 | Gary D. Grandovic | We added additional space to the storage computer in Boca Raton location. Please go ahead and do your configuration.
2016-10-13 | Rick Cazenave | Hi Jarek, A couple of things. Can you transfer the DrRick user to an Outpatient Center Role? Can you Create a couple of additional Outpatient Center Role Slots with the proper permissions for future use like you did the Radiologists? Question, If we have a Radiologist or outpatient Center role can we assign it to multiple individuals and all of them get the same privileges? My Role is Admin, but I do not have access to user management under options. How do I fix that?
2016-10-13 | Kimberly Mauer | Trying to upload priors, just lost connection to the server, any suggestions? It is hard for me to get my work done if I keep having issues.
2016-10-13 | Kimberly Mauer | Hello all, I pushed 37 studies on Oct 11th to Dr. Reich's server. I do not know where they are, only 11 studies have shown on DR. Also, I pushed 4 sets of priors last night and I do not see them. Please fix as soon as possible.
2016-10-13 | Eschelweck, Laurie | I imported about 8 cd's today, showed complete but, some studies were not loaded and others did not load entire study. I had to import every cd twice
2016-10-13 | Eschelweck, Laurie | universal space is 100%. would you please clean in up.
2016-10-12 | McRae, Stephanie | Hi I do not see the annotations for exam 232507. Please fix.
2016-10-12 | Sesha Gates | Hello , I need some assistance in correcting and error in Vario # 12293 PC (should be CP) DOS 10/7/2016 the first name and last name were entered in the Hologic workstation incorrectly, the first and last name were switched. Priors studies were imported and renamed to the incorrect order of the patient, and all images were sent to archive. the error was not identified before renaming. Can the first and last name be switched in RIS for correct reporting?
2016-10-12 | Rick Cazenave | Martin and Jarek, As per my conversations with Martin, Our SIRIS is not functioning properly. First, the SST-PC Has all of the users, but the Radiologists no longer have any privileges or a "Radiologist" role to use for them. The Mirror has no one in the list. We tried to re-add privileges to the users, both inside SIRIS and in the Control center on SST-PC, but nothing sticks. So the only Account that is usable for the Drs to read the patients files and add reports is the ADMIN account. Please Help
2016-10-12 | Natalia Prilisch | This is the current state of US Support - 12.10.2016 1) Midland: Diana got an error message when using SSTRenamer. => We asked her to leave the CD in the computer so we can have a look in the morning => PENDING 2) Hawthorne: Stephanie said that Dr. T. is not seeing all of her paperwork. => We are currently checking and resending all studies that were not read yet to the wks of Dr. T. => PROCESSING Stephanie is missing annotations of the following patients: 245761, 246847, 1747301. => annotations were resent and arrived at Salem. Claudio is checking the logs, working on fixing the Forwarder. => PROCESSING 3) Dallas: Laurie gets an System out of memory error when she tires to burn a CD with MedicalDisk. => There is not enough RAM on the shuttle PC for MedicalDisk to work properly as it is using a lot of it. We have to talk to Claudio/ Mr. Schaef what we can do to fix that. => Current State 12.10.2016: We asked her to tell us when she is burning her next DVD so we can have a closer look at the process. => PENDING Laurie could not import images using the SSTRenamer. => there was no patient ID assigned. Micha made a small update and resent the study to the archive. => DONE 4) Dallas: Laurie needs annotations of the patient ND635293 => there is no patient with that exact ID on einther Dallas not Birmingham archive. There is only a patient with the ID 635293, but there are no annotations for that pt in Birmingham. We asked her to confirm it is the correct patient. Waiting for answer. => Current State 12.10.2016: Laurie said she will talk to Jamie and will let us know if there is anything else they need us to do. => DONE 5) Hickory: Tammy is missing a report on the patient 1741997, DOS 9/13. The study is also not showing in the RIS in Miami and Hickory. => Study had to be reassigned at both locations, it's visible now and the report was there. => DONE 6) Morehead: Tammy asked us to send digitized films from Morehead to Dr. T. => Films were sent and forwarded to the Hologic wks. => DONE
2016-10-12 | Sexton, Tammy | I have also noticed cases that are assigned as GEPACS which are not our cases. I have been changing status to transcribed since there are no documents attached. These seem to be priors that I have loaded in with the renamer program. This just started as of yesterday.
2016-10-12 | abrahatad@gmail.com | It must have been initially correctly assigned (as it was reported), and then the assignment was somehow lost? Can you please also search for any additional cases that were "unassigned" during September and October? Does this relate to the missing facility field on many of the cases from AWV?
2016-10-12 | Sexton, Tammy | I see the original report now but I still need an addendum compared with her prior studies. Status changed to addendum.
2016-10-12 | Eschelweck, Laurie | I was unable to load cd on ND241611 Daryl. Gave error massage 3 times. CD is in burner
2016-10-11 | abrahatad@gmail.com | She is not in my RIS either, so we likely need a file to be created for it to be reported. Current and prior images are still present on my workstation. I understand that it was once on the RIS and was previously reported. This is very worrisome. Vario, can you please clarify? As an aside, we have also been using the RIS to track cases; I am concerned that we may be missing some in the tracking.
2016-10-11 | Sexton, Tammy | Hi all I am missing a report on a pt ID# 1741997. She is not even in my RIS list. This pt needs to be read ASAP. Her DOS was Sept 13th.
2016-10-11 | Mackey Diana | Thank you Hans for calling the Midland site to address the error issues when uploading into Vario using the SSTRENAMER. Per our phone call, uploading imaging instructions that were given from the very beginning from you, was to upload to Vario then retrieve and send to Universal Manager from Vario. Now that you have configured the SSTRENAMER to send directly to Universal Manager, the test patient priors that we tried on during our phone call are now in Universal Manager. After you configured this step, I don't manually have to do it anymore. I am not sure if the other 2 sites that use Universal Manager are configured the same way. I am looking forward to an easier and less time consuming workflow.
2016-10-11 | Sexton, Tammy | Films on ID # 1756918 were scanned in at Morehead City. Please make sure they are available on Dr Taddese's archive.
2016-10-11 | abrahatad@gmail.com | Vario, Can you please transfer the annotations and investigate why the annotations were not transferred? The cases are annotated as per usual. Also, is this just happening for one facility?
2016-10-11 | Natalia Prilisch | This is the current state of US Support - 11.10.2016 1) Morehead / Miami: Christy is missing some reports. => The Server was offline due to the Hurricane yesterday, all reports that were available at Dr. T. have been resent. => DONE 2) Midland: Diana got an error message when using SSTRenamer. => We asked her to leave the CD in the computer so we can have a look in the morning => PENDING 3) Hawthorne: Stephanie said that Dr. T. is not seeing all of her paperwork. => We are currently checking and resending all studies that were not read yet to the wks of Dr. T. => PROCESSING 4) Dallas: Laurie gets an System out of memory error when she tires to burn a CD with MedicalDisk. => There is not enough RAM on the shuttle PC for MedicalDisk to work properly as it is using a lot of it. We have to talk to Claudio/ Mr. Schaef what we can do to fix that, => PROCESSING 5) Kim Maurer: She sent studies yesterday and not all of them arrived at the Birmingham archive. => Jarek checked and the images are still being received at Birmingham. => DONE 6) Katie: Katie could not retrieve a study: Hunter, Helen. => H: was full, changed archive paths to I: and made some space on H:. Study could then be retrieved normally. => DONE 7) Dallas: Laurie needs annotations of the patient ND635293 => there is no patient with that exact ID on einther Dallas not Birmingham archive. There is only a patient with the ID 635293, but there are no annotations for that pt in Birmingham. We asked her to confirm it is the correct patient. Waiting for answer. => PENDING
2016-10-11 | Eschelweck, Laurie | would you please send annotations ND635293
2016-10-11 | Gary D. Grandovic | There has been an email of some sort almost every day about this location and error messages…. This needs to be stabilized immediately.
2016-10-11 | Kimberly Mauer | 33 studies were pushed last evening but I only saw 17 this morning on Dr Reich's DR system
2016-10-11 | Bonnie Kendall | This is Bonnie Kendall from midland women's clinic. I scanned a patient on Friday & I've tried 3 different times to send the patients images through and it's not working. The first time I tried it sent through 29 images and there are really 84. I tried again and it only sent one image through. I've sent it through one more time and have yet to see it come across. Not sure what to do about this issue. The patients MRN # is 489661. Thank you for your help!
2016-10-10 | Barker, Christine | I know the Matthew has thrown us all off schedule. Hope everyone faired well thru this storm. Just touching base on the reports that I don't have - 9/30 - 3 patients - no reports 10/3 - 2 patients - no reports 10/4 - 8 patients - no reports 10/5 - 5 patients - no reports 10/6 - 14 patients - no reports 10/7 - 1 patient - no report
2016-10-10 | Natalia Prilisch | This is the current state of US Support - 10.10.2016 1) Morehead: Christy was not able to log into VarioImage. => Server has been swtiched off, switched it back on. => DONE 2) Katie: She was not able to retireve a study. => Study had some images which had the ImageUID Null, deleted those from the database. Retrieving worked. => DONE 3) Midland: Diana got an error message when using SSTRenamer. => Micha updated the SSTRenamer => DONE 4) Ocala: Mary was not able to log into VarioImage and the RIS. => Server has been swtiched off, switched it back on. => DONE 5) Cary: Valarie had the problem where the study was shown multiple times in the local database of VarioImage. => we asked her to restart VarioImage when this happens. => DONE 6) Hawthorne: Stephanie said that Dr. T. is not seeing all of her paperwork. => We are currently checking and resending all studies that were not read yet to the wks of Dr. T. => PROCESSING 7) Dallas: Laurie gets an System out of memory error when she tires to burn a CD with MedicalDisk. => There is not enough RAM on the shuttle PC for MedicalDisk to work properly as it is using a lot of it. We have to talk to Claudio/ Mr. Schaef what we can do to fix that, => PROCESSING
2016-10-10 | Eschelweck, Laurie | FRi. Juliette cleaned up disc space, which showed plenty of space. I'm burning a disc now getting the same message!!! What needs to be done fix this issue, that has been a problem since day one?
2016-10-10 | abrahatad@gmail.com | Good morning. Thank you. I just spoke with Hans-Martin. Barring the cases missing paperwork, we have been currently up-to-date on the reports. I see now that the 5 cases yesterday missing paperwork (from 9/30) are now completely here. They will be read this morning. The next set of oldest case is missing paperwork are from 10/3. They are in closed status, total of two cases one from Salem and one from Lyndhurst. If you could please send the paperwork etc. on those two cases from 10/3, that would be great. I would like to read them today; it is five business days since those cases were performed. 10/4 I have several that are held for priors but that is by the request of the facility.
2016-10-10 | Reddick, Valarie | I am having the same issue with Vario duplicating multiples on my database. Can you take a look at it?
2016-10-10 | Barker, Christine | I am unable to login into Vario this morning. I get the error message to please call service. When I try to login into Mammo Ris I get message user name and password incorrect. Could you please look into this for me.
2016-10-10 | McRae, Stephanie | Dr. Taddese is still not seeing some of my paperwork on patients. All paperwork is there, that he can't see and has been there for days to view. Please help with this issue reports need to be dictated.
2016-10-05 | Tom McGovern | The people with the archive at Limerick Radiology want to be able to enter patients to the worklist one or two days before the study date. They tell me they can’t do this, as even if they set the exam date to say the next day when entering the patient information using the worklist generation tool the patient are in fact scheduled for the date of data entry and not the entered required exam date. Can this be solved so they can enter the patients for tomorrow today? If this is not possible with the supplied software is there a module we can add to do what they require? Secondly they tell me they have to phone SSTMED support to do a DVD backup as it will not run for them each time can you let me know what is going on. Such as is it user error or what?
2016-10-04 | Jarek Walaszek | All the reports that were sent were also delivered. These are: 1740344 1219184 1213036 1206496 1216649 The rest of the pts do not appear in logs as reported by dr T. (to be verified atdr T station)
2016-10-04 | Eschelweck, Laurie | I spoke to Juliette, I have 4 RAMS and I'm using 3. Juliette said I can send the computer to Unified IT or ask Shaunna if her IT can install more RAM
2016-10-04 | Kimberly Mauer | I cannot upload outside disc with my Dicom image. I'm getting a "fail to connect at a TCP level"
2016-10-04 | Gary D. Grandovic | I just got a call from the office. They are indicating that there are still exams from the 20th of last month that have no reports. Can I get an update on where we are with Hawthorne please? The doctors and patients are expressing a dissatisfaction…
2016-10-03 | William Yovic | I'm emailing you and Hans, my images are not on the vario at Jamie's office. This is a problem
2016-10-03 | Reddick, Valarie | I am having an issue with Vario. One case that I did this morning. It keeps displaying the same case multiple times.
2016-10-03 | Eschelweck, Laurie | I get error message, low on memory few times a week. IT cleaned up space fri. and I had the error again today. IT suggest 400 GB of memory. I have total 130GB and only 14.5 left. This slows the images on renamer going to universal
2016-10-03 | Ryder, Karen | when we first started we sent all of our film to archive -- then told that was a problem and to just send to Miami which we have been doing for months- now, if I read the email correctly, we are to go back to just sending it to archive-- is this something new since what took place a few weeks ago with the system ??
2016-10-03 | Jarek Walaszek | The disk space in Boca is approaching to zero. The K: is the last with a little of space but will soon be used as well. Can we do anything about it?

## September
Date | From | Problem
2016-09-30 | Green, Rebecca | I have done 10 patients this morning. They are all on my Vario. However, only 6 have crossed over to the Birmingham Vario. Could you assist with this matter?
2016-09-27 | Eschelweck, Laurie | would you please put annotations ND465594
2016-09-26 | Eschelweck, Laurie | would you please change the auto delete/cleaner to every week please
2016-09-26 | Eschelweck, Laurie | I have a system error out of memory
2016-09-26 | Eschelweck, Laurie | I need annotations on ND 365650 please, cd is in burner. Am I not doing the right steps to burn cd with annotated images. Please let me know.
2016-09-26 | William Yovic | Can we get the first and last names in seperate excel fields ?
2016-09-23 | Mackey, Diana | Can you please delete the ultrasound exams for Carr #206777 done 9/22/16, the sono tech is unable to resend the corrected exam to Dr. Reich until these exams are completely deleted from Vario. After it's deleted she can resend correct images.
2016-09-23 | Lupita Bunch | My name is Lupita Bunch with the Midland Women’s Clinic in Midland, TX. I mislabelled some images in an ultrasound exam I did yesterday and need the breast ultrasound exam for PT ID: 206777 completely deleted so I can send a corrected exam. Can you help me?
2016-09-23 | Eschelweck, Laurie | unable to load cd. I left it in the burner.
2016-09-22 | Gates, Sesha | I am unable to send images on 23386 DD when I try to send 9/20/2016,8/24/2015,7/1/2014,6/24/2014 I receive the message "error 1013 Remote Socket disconnected error code=0z2746 an exsisting connection was forcibly closed by remote host" can someone please take a look at this study in my local database and see why it cant be sent? thank you
2016-09-22 | Donna Lewis | I am trying to review the following cases from Cary for ACR certification and I am receiving the error Message “ Unable to connect at TCP level ‘
2016-09-22 | Gates, Sesha | I am unable to send images on 23386 DD when I try to send 9/20/2016,8/24/2015,7/1/2014,6/24/2014 I receive the message "error 1013 Remote Socket disconnected error code=0z2746 an exsisting connection was forcibly closed by remote host" can someone please take a look at this study in my local database and see why it cant be sent? thank you
2016-09-21 | Gates, Sesha | I am having the following errors in RIS/ reporting. 1. Some of my reports are still having "ERROR object reference not set...." where tech initials should be located. It is not in every report, but about 25% of them 2. I have had two patients that are BIRAD 0, when I select the BIRAD 0 .doc there is a "normal" letter in the template? Not an abnormal letter, I cannot mount an abnormal letter to print? patient example is #6136 LS
2016-09-21 | Green, Rebecca | 1. Someone was in my computer last night. I did nothing different! I can also see a time stamp of 9:20 that someone was installing something. 2. Universal Manager is the program in which my radiologists view and dictate from. It does not need approval from you but your staff has spoken with the staff of my radiologist regarding Universal Manager and it's interaction with Vario on multiple occasions. 3. Again, my radiologists use Universal Manager not Vario I do not wish to make this difficult. I simply need things to work they same way they did yesterday, before someone was in my computer. I was able to figure out the problem with the scanner. However, I still have a problem with the printer.
2016-09-21 | Green, Rebecca | Since downloading the update my scanner is not communicating with Universal Manager. I currently have a stat waiting to be turned in but can not do so because I can not scan in my paperwork.
2016-09-21 | Eschelweck, Laurie | I have a cat. 0 ND 831665, correct med. rec is 830665. Also I don't see OT to burn cd??
2016-09-21 | Eschelweck, Laurie | ND 442288 cd in in the burner. it won't load entire study
2016-09-20 | Eschelweck, Laurie | renamer is giving (error importing images) since 9/19/2016. It is loading images, but an error code every time and often I hit import twice
2016-09-20 | Eschelweck, Laurie | Pt. ND 442288 cd 11.14.2014 left cc is not going to Jamie
2016-09-20 | Gary D. Grandovic | Priors MUST be taken care of TODAY. We have multiple exams that are coming up on 30 days. If they reach the 30 day mark of not being read, we have to report this to the government. Make this a priority and get it done today.
2016-09-19 | Donna Lewis | I am seeing studies on our Archive that are not Untified Mammograhy sites. They are coming from Care imaging in Ocala Florida. I should not have access to these images.
2016-09-19 | Claudio Franco | Dr. Taddese is reporting that the ctrl + S and ctrl + Alt + S are not working on the mammoRIS.
2016-09-19 | Leone, Catherine | This is a Unified practice- A Womens View in Hickory,NC. I am unable to archive again. I restarted server and switch.
2016-09-19 | Reddick, Valarie | Under Vario RIS report screen I've clicked the save (local) box in the tool bar by accident and now all other patients have her report in their file. Can you unclick that box and reinstate all patients reports to their own exam?
2016-09-19 | Eschelweck, Laurie | What is the status of fixing this issue.......I can retrieve images, but NO ANNOTATIONS. I have 2 category 0 I need to burn.
2016-09-19 | Jarek Walaszek | The status od the Largo->Miami connection is as follows: All exams that are supposed to go to Largo are autorouted to Miami since last Fridat (as per email from Katie), at the same time they are also stored in Largo archive as they used to be. The routing of reports and messages is also done. All the routing is taking place on the server so there is no need Largo server is up and running. If it is, all the stuff will be copied there as well. Schould it be necessary to switch cases to Dr Da Costa instead of Dr Tadasee, the following procedure schould be followed: 1. Go to Dr Tadasee bridge control center and STOP and then DISABLE (or set to MANUAL) the Largo bridge (chanell ID is Location_4, SFTPUploaderLargo). 2. Go to Dr Da Costa bridge control center, find the bridge with the same chanell id (Location_4, SFTPUploaderLandry), set it to AUTOMATIC (or MANUAL) and START. These two sites must not work at the same time since they use the same chanell ID and will interfere. Al the rest will be hanlded by the bridge router onthe server.
2016-09-16 | Gary D. Grandovic | Hans... this is from Dean at Hickory. Would this have been something that Richard would have installed? There are 16 ports and there is no way we would connect to that. Please advise.
2016-09-16 | Eschelweck, Laurie | I can retrieve studies, but NOT the annotated images.
2016-09-15 | Gary D. Grandovic | I would like a call tomorrow morning at 9am eastern time zone to discuss all that has happened over the last week. It has been at best, disappointing as all I have been doing is fielding calls from angry doctors about why it is taking a week or longer to get back reports…. The other radiologists seem to be working with minimal issues, but the hard down of Dr. Taddese’s computer crushed North Carolina business and since he is the only reader for North Carolina, they are/were completely without reports and several locations wanted to close until this was corrected. That cannot happen. Please call 561-408-6460 to connect to our new conference calling center. No PIN or ID is needed.
2016-09-15 | abrahatad@gmail.com | The new server is starting to display low memory messages. I'm not certain if this is from the operating system disk or because of the full archives, but it just started in the afternoon today. Please take a look, as the RIS is starting to slow down. Also please note that while I was able to make a lot of progress today, a number of files are still missing images and paperwork. I understand some of this appears to be at the facility level. Still, please take a close look at the files from Cary, as many are missing items.
2016-09-15 | abrahatad@gmail.com | Also, I have not yet installed the Dragon speech engine, but typing is slowing me down. Is it safe for that to be installed?
2016-09-15 | Gary D. Grandovic | The doctor’s office has indicated that the reports are still coming across incorrectly. Please send me a copy of the template you have in the RIS for Hawthorne…
2016-09-15 | Jacqueline Buck | I have been thinking about the response you received from Claudio and have discussed it contents with Michael, my fellow director. We are perplexed by some aspects of the reply. Further to Claudio’s points, a re-install of the ACC software and some of the other fixes seems to have improved things, however there are still a few bugs, which we have called Schaefer about. One example is that if we crop the images before filtering then we are unable to filter the images at all. I am also slightly perplexed by the statement on stability issues with Windows 10. We bought this system in May 2015. When supplied the Tower itself came with Windows 7 and a free upgrade to Windows 10 due to be released in July 2015, 2 months later. This free upgrade scheme had been announced in January of 2015. At no point were we told not to upgrade. This was a significant investment for the practice, and we were not expecting it to have glitches due to a known software upgrade 2 months down the line. In view of our continuing problems with the PACs system, please could you let me know whether there going to be a fully windows 10 stable release of the ACC software in the near future. If so we would be very interested in knowing time frame for this to occur. In general, we are very happy with the performance of the ultrasound scanner, the MRI scanner, however, the DR system and PACs storage continues to be an issue. The system of phoning Germany for technical support does not really work as the people we talk to provide an immediate fix for whatever the problem is but do not tackle the underlying problem so issues do recur. I do not really know how we should proceed to improve the performance of image storage to match the level of image production.
2016-09-14 | Gates, Sesha | I am not sure my archive/ priors are available to Tadesse. I am receiving a majority of reports read "No Comparisons" how can this be resolved. Can he have access to my archive?
2016-09-13 | Brad Manz | We had to restart the digital archive server and when we try and start Vario, we are getting an activation error. It says the trial has expired, and when we try and use the activation code, it will not accept it. We are using this activation code: B4F16-BC451-00100-9F2F1-CB31D-2A5EF-538D1-84D36 How can we get the product activated again? We need to pull an urgent patient study from the archive.
2016-09-13 | Leone, Catherine | I am getting timed out of Vario again. 2 studies supposedly archived in the past hour. Getting automation error as well. On Meagan's laptop I am getting TCP error and upon retrying 2 or 3 times it does work. I am literally having to log off and on avg 20 times a day. As of now, I keep timing out and cannot send anything. Yesterday ,today and going foward.
2016-09-13 | Sexton, Tammy | Dr Taddese is only getting partial studies on the tomo exams. Also the image transfer from the Hologic to Vario the tomo images are coming over washed out.
2016-09-13 | Gary D. Grandovic | Hans was in Hickory less than a month ago and installed a gigabit switch… you have a super-fast fiber connection with no other traffic except for images and they are still in SCO format….nothing else has changed… how can something that has been working all of a sudden stop working and nothing was changed….
2016-09-13 | Claudio Franco | Last Friday the 9th of September we identified a problem with Dr. Taddese’s server and were obligated to quickly migrate to a new server. By chance Hans Martin decided to leave a backup server in Florida. We believe the windows hard drive is damaged. The change was done during the weekend. Unfortunately a migration requires time and some issues were found during the migration. After receiving reports about missing images at Dr. Taddesse we decided to quickly resend the studies. At the time we thought that some images were not sent while we were migrating. This morning( german time) I did a recheck of the system and found the problem with the missing images. A key Id on a database table was not being updated. This makes the system save the images but not register them on the database. We are currently in the process of making sure that all the images are available for Dr. Taddese to read. At the moment I expect that most of the studies until the 9th of September are ready to read. I would like thank Dr. Taddese for the help during all this process to change the server. Unfortunately he is getting backup because of an hardware failure. I apologise for the miscommunication on our part. We will try to send more feedback about what we are doing to resolve the problems. About the problem in Salem, I found out the following: - The hologic system is configured to use BTO format.( 1 study > 4GB) This will make the image transfer slow. - I added some forwarding rules to insure image transfer. About hickory, The Archive is in 100 Mbit/s network with 2 NAS servers. The problem you are getting here 90% of the times has to do with overloading the network. Images are being transferred 3 times throughout the network. HOLOGIC -> PACS PACS-> NAS 1 PACS -> NAS 2 I tested with Cathy the image sending and found out that it does not work on that system. I also tested the image sending from another software on Cathy’s computer and got the same result. This means that is is not a varioImage problem. We are able retrieve images but not able to send. Retrieving images is using another port(1337). We are also able to query images. This is done on port 1111, so the network is allowing the transmission of small packages. We are also able to send images from Maegan’s laptop so the PACS is working. After restarting the network Switch the sending is now working. This was not a vario problem. It was a network problem. According to Catherine each study takes 4 - 5 min and she has to send around 100 studies. The time to send images is too slow but we cannot do anything to decrease this time. The network architecture should be changed. As for sending the images to Dr. Taddese we will take care of that.
2016-09-13 | Donna Lewis | Cathy in Hickory states: Vario just times out when I try to archive anything. Just to be clear, all of yesterdays studies would not send. I cannot resend anything to Dr. Tedesse as well. Everything has been restarted on this end. All updates were done.What next?
2016-09-13 | Leone, Catherine | After switch was reset system has sent one study of 15 images in 4-5 min. Catching up on patients. Who is sending Dr. Tedesse all his images from last week? i will but it will take forever.
2016-09-13 | Sexton, Tammy | Dr Taddese is only getting partial studies on the tomo exams. Also the image transfer from the Hologic to Vario the tomo images are coming over washed out.
2016-09-13 | Gary D. Grandovic | No, this is not okay. The address is duplicated. Please remove the typewritten address so that only the letterhead address is showing.
2016-09-12 | Leone Catherine | Hi, apparently Vario has been unsuccessful in resending Dr. T the images because he asked me to send them. I am happy to but the problem is that since they started moving all that data around 8 am it won't respond to my trying to archive anything. Even today's studies. It times out and freezes the entire computer. I restarted Mamview just as a precaution. I'll keep trying. I'll give you an update in a little bit.
2016-09-12 | Leone Catherine | Do you know if they are doing updates on Vario? IT guy in Hickory said he sees something running on network.It is not allowing me to achive any of today's studies yet. I was trying to wait a little while because I saw they were on a remote session earlier working in the report templates.\
2016-09-12 | Donna Lewis | I wanted to let you know that Dr. Tadesse is having issues with his Vario/RIS. Vario has been working on this all last week and today. I will keep you posted with an estimate on when you will be receiving reports. I will also call your practice managers to give them an update. Please let me know if you havew any questions or concerns.
2016-09-12 | Gary D. Grandovic | Please add attached to the templates for Hawthorne OBGYN. If you cannot use this, then please add information from letterhead to template.
2016-09-12 | Donna Lewis | Vario Support- Dr. Tadesse has 70-80 % of his cases that he is still unable to dictate. Please check the RIS and REPUSH all cases that do not have a report to him by tomorrow morning. We must have these reports from last week dictated and to the practices by noon tomorrow. We are very concerned about this issue. Please advise asap.
2016-09-11 | abrahatad@gmail.com | Just as an FYI, as requested, I swapped the additional 2TB hard drives and now both computers are available via the Internet. Also, please note that the old computer is continuing to fail. It required to re-boots today. Perhaps it would be wise to move the active RIS to the new computer as well. In addition, perhaps because of the hard drive swap, the RIS program on the old computer does not open up the prior report files.
2016-09-11 | abrahatad@gmail.com | Given the current instability on the old computer, I'll start reporting with the new one. If the old computer continues to be unstable, I can certainly replace the 500 GB disk, or take it somewhere for a hard drive diagnostic. Please just let me know your thoughts. I do like the idea of having some redundancy so interruption doesn't reoccur, so I am more than happy to go buy a component. Also, is it possible to re-push, from either the Boca or facility archives, all of the images and scanned paperwork from last week? Most of last week's cases are incomplete.
2016-09-08 | Brad Manz | I have a problem in Vario that happens when I try to query an entry from 2010. A result comes back, but the patient line says “Access denied”… have you seen this problem before? Do you know of any solution?
2016-09-08 | Gary D. Grandovic | Who’s bridge is turned off during day? Why is bridge turned off? I understand if it is the bridge to Boca Raton so we don’t have traffic during business hours. Please advise.
2016-09-08 | abrahatad@gmail.com | I will check. I believe those have been read. I am having trouble opening the RIS this morning and am following up with Vario IT. I just spoke with them. As they are still configuring the server, the bridges for transfer are turned off in the day and then are turned on again in the evening. Those reports should arrive to you late this afternoon when they restart the transfer.
2016-09-08 | Ryder, Karen | STILL NO REPORTS FROM AUGUST 26 NEED ONE FROM AUGUST 29 AUGUST 30 ALL READ ONLY A FEW READ FROM AUGUST 31 AND SEPTEMBER 1 STILL HAVING PROBLEMS ??????
2016-09-08 | Katie Smith | Thank you for coming to our office a couple weeks ago to set up our ultrasound machine. We sent over 2 test patients however Dr. Landry is not receiving them. Can you assist?
2016-09-07 | Gary D. Grandovic | Diana is having HUGE issues with Vario. Someone please call her at the number below tomorrow during business hours. She is one hour behind east coast time. Her contact info is below. The office and the technologist are very frustrated at this time and we need this to be addressed asap. Please advise and confirm resolution…
2016-09-06 | McRae, Stephanie | Hi Kerstin, I now have a scanner connected to the computer and need to have the scanning portion of my VARIO training. I have put tickets in for this like you told me but have not heard from anyone yet. I start doing patients on Thursday and will need access to scan into VARIO. Can you help?
2016-09-04 | Dr. Hudson | Could you do me a big favor and check on the 3D's? Has been no problem to pull them but have been unable to pull Friday's. It says no DICOM connection, unable to complete search on my Hologic system. We've had some power bumps in the last day or so. Don't know if it has to do with that. I restarted everything and it still didn't work. Is the no DICOM connection something you can fix from there? I hope so, because I really need to get Friday's cases done by Monday. The following patients are the ones I need 3D images on: Clark Dillon Lomato Papesh Soverall all were from Fri, Sept 2. Please send as soon as you get this. Have to get to these tomorrow.
2016-09-02 | Marty Landry | there is an occasional glitch (rare) where the BIRADS column is missing on mammograms and we still have no BIRADS column for breast ultrasounds...please advise.
2016-09-02 | Vannoy, Shannon | We are still having issues with our images crossing over to our local database. I continue to have to delete the partial study and repush from the archive. However, when this happens, it appears that the CAD images are not crossing over. Please advise.
2016-08-31 | Peche, Leigh Anne | I have had 2 outside facilities call and tell me that they are not able to scroll through the tomo images on the discs that I am burning for them. I touched base with Sesha at Lyndhurst and I am doing it just like how she does it. Can you help me figure out why the tomo images are transferring to the disks correctly?

## August
Date | From | Problem
2016-08-31 | Sexton, Tammy | Not all of our images are crossing over to the local database. We have tried to restart the computer and server to try to resolve the issue, but it has not worked. We are now having to delete the partial study from local database and re-push it from the archive in order to have a completed study. Please look in to this issue ASAP.
2016-08-31 | McDonald, Amber | It appears I have a site based Vario image duplication of exams issue. Please call me Thursday morning to discuss and troubleshoot why this might be occurring and assign an issue ticket to assist in resolving. I must have a number of duplicates in Vario archive and will also be a problem next year, as those patient's return and duplicates exist, some with worksheets scanned in and that were read off of and others not. As Katie and I discussed, this problem (since 11/23/15 start up) seems to be tied to only my site and when I'm sending diagnostic exams over and at other times screening exams - - now this has become an even greater issue with implementing Vario RIS. I'm not sure if this duplication problem is from how Hologic autoarchives each image over to Vario or when I am using Vario splitter to revise US images to be better formatted... or when I am scanning the worksheets into the images in Vario local that I have pulled from the Vario archive and then resending them back to Vario archive after the scan sending them to Dr. Landry. From what Katie has described this duplication of exams that end up in Vario Archive and in Vario RIS (unless she's catching and correcting) - - has been going on from the start at my site. Please look at my set up in Vario Ris and let me know if there is a procedural step or system change that needs to be addressed. I'm available to work on this in the morning (8:00 am until 9:00 am) or 2:00 pm your time.
2016-08-31 | Marty Landry | What I was trying to say is when Dr Landry dictates in to the RIS he is given more than one exam to dictate in to( when there are duplicate entries in Vario). One with the proper information and one without. Today he read a case on the wrong patients exam entry and the exam title was blank. If I do not see this on my end before I send the reports to you, you will have to enter exam title information. I could care less if there is duplicate entries but if you dont want to have to fix the reports then this issue needs to be fixed. Its been this way since the beginning of time but never has it been an issue until he started using the RIS software.
2016-08-31 | Eschelweck, Laurie | I HAVE A OUTSIDE CD/ 3d STUDY. IT'S NOT LOADING ALL THE IMAGES. CAN YOU HELP ME PT. IS COATES
2016-08-31 | Peche, Leigh Anne | I have had 2 outside facilities call and tell me that they are not able to scroll through the tomo images on the discs that I am burning for them. I touched base with Sesha at Lyndhurst and I am doing it just like how she does it. Can you help me figure out why the tomo images are transferring to the disks correctly?
2016-08-31 | Sesha Gates | I do not have annotated on Page, Linda DOB 5/26/1952, 7/29/2016 DOS can these be resent or pushed please
2016-08-31 | Sesha Gates | I am currently having an issue with my SST Renamer, discs imported with no error but when I try to send to archive , I get a pop up that states SST renamer has stopped working and Windows is closing program. Can someone please assist me? thank you
2016-08-31 | Sesha Gates | there is a disc currently in my drive, that I am unable to import. Using the SST Renamer or Vario, it is shutting both programs down. Can someone please take a look at the images on the disc? thank you
2016-08-31 | Sesha Gates | so all LGA reports will have "SG" despite other techs being logged into HOLOGIC and entering their initials on the images?
2016-08-31 | McRae, Stephanie | I need someone to correct a patient's ID in VARIO. The patient ID in VARIO now is 22643 ( Rousseau, Renee) the correct Athena ID is 1740174.
2016-08-31 | Peche, Leigh Anne | I am having a couple problems with the renamer program and was wondering if someone could assist me. I have a pt Lydia McNeill that I changed her name in the system from McNeil to McNeill. I did this before the study was dictated and now both names are showing up for Dr. Taddese to read. Also I have a patient Teresa Kuhlken that I changed her name after the study had been dictated from Tammy to Teresa. When I did this the report that was originally attached did not carry over with the name change.
2016-08-31 | Katie Gowen | I am missing a case from the lydnhurst office that was re sent multiple times. Can you please see whats preventing it from show up on my archive RUARK, BARBARA - DATE OF SERVICE 06/25/2015.
2016-08-31 | Eschelweck, Laurie | I need word loaded to burn cd's from universal and excel for mammo tracking please
2016-08-31 | Sesha Gates | Hello, again! thank you for adding the MR # to the documents. However the set up for my page is now resulting in a 2 page report. Its just the Radiologist info continuing on the 2 page of the report. Can the spacing be adjusted?
2016-08-31 | Dr. Hudson | Here are the cases from yesterday that I cannot dictate because of missing 3D. New issue is that some of them came through with some 3D images but not the complete study. List below: Missing all 3D images: Martin Merricks Nichols Rattner Rhea Harris Giampoli Partly missing 3D: Dichro No 3D MLO's of either breast (have the tomo symbol for left MLO but it doesn't work) CC's are ok Gaffoli No left 3D images (right came through ok) Leschey Right CC 3D image. Missing everything else. Please update these at your earliest convenience. Will check again on them later this morning since I know that's more conductive to your time frame.
2016-08-31 | Sesha Gates | I was working on reports this am and realized I do not have a BIRAD 0 template set up. Can this be added?
2016-08-30 | Brumley, Maegan | Hi this is Maegan Brumley with A Womans View in Hickory NC I need Dr Da Costas template removed from my risk system it is pulling both Dr Taddese and Dr Da Costa
2016-08-30 | Shannon Vannoy | Please push images on A. Hinson to Dr. Taddese. We have tried multiple times to resend her study, but only the CAD images are duplicating.
2016-08-30 | Darlene DaCosta | There are a few cases from the 18th and the 19th that I did not read because there were waiting for priors.
2016-08-30 | Marty Landry | I have been using the new system for several weeks and it is going smoothly...I have picked up a glitch that may impact billing and reimbursement, however. Several cases have come through listed as screening mammograms whereas, in actuality, there are clinical symptoms and palpable masses that are being worked up ...They should have been listed as diagnostic mammograms rather than screening exams...I just want to make sure y'all are getting paid for what is being done -we can no longer change the "title" of the exam like we used to!!
2016-08-30 | Tania Brady | My templates needs editing and I'm also missing pt letters.
2016-08-30 | Peche, Leigh Anne | Good morning Donna. I am filling in at Lyndhurst. My SST renamer is not working. I cannot find the email with vario support. Do you have that number or email?
2016-08-30 | Morris, Susan | Can someone please delete the images on Buchanan, Dawn done yesterday in Vario Also still need help with reports in RIS
2016-08-29 | Dr. Hudson | Ok, so here's the BAD news: Just checked my workstation before hitting send and I have NONE of today's 3D images. Is it too much to ask to push the current 3D's since you had to push last week's and already know there is a problem? And is it too much to say I'm getting tired of this? So Natalia or Kerstin, or whoever, can you PLEASE fix this? We can't do this every single day!
2016-08-29 | Eschelweck, Laurie | A cd is burning, but has been at 40% for 20 minutes
2016-08-29 | Katie Gowen | I am having Dr Landry dictate the clinical history and comparisons. Can you please delete the history and comparison lines on the templates for all centers so there is not duplicate information. This will eliminate the techs from having to manually input themselves and nothing will be left blank
2016-08-29 | abrahatad@gmail.com | I have logged into the ris/pacs and do not see RIS entries or images from 8/26 nor for today. Those cases should be sent to me in Miami, as Dr. Da Costa is not currently covering. Can you please take a look and push them here? I checked the network and it is currently at 120 Mb/s. Also, if there are any unread cases (held for priors etc) from Dr. Da Costa's week of coverage that now need reports, please push them to me in the ris/pacs.
2016-08-29 | Jamie Burgess | As far as I know there are two other problems: 1. 1) The annotated images don't go to Dallas. Annotations are now going back to Dallas. Hologic had something miss-keyed and now I can echo the site. I will double check today to make sure the annotations are going back to Vario. 2) The images of Dallas need longer to come over. I wanted you to check the settings to see if they are the same as Emerald and Midland. Is that correct?